## Slide 1: Sample Naming Standardization
Updated by @ET 04-06-2022

## Slide 2
18USGA00A1000 PfB000Z
mol markers
[code]
sample type
[A-S]
genus species
year
country [code]
state of province
[code]
day of failure
[code]
treatment [code]
sample ID
Provided before sample processing
Added prior to sequencing
IF MISSING VALUE: Use (lower case) x if information is missing or not available for each position in sample name (ex. If day of treatment is not available = replace with (2) (lower case) x x .
The sample name must be 20 characters long always.
Individual Sequenced Samples
1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20
# processed
1 = first), 2= repeat, ..
[code] = see next slides for code keys and explanations
blood (B), filter blood spot (F), plasma(P), tissue(T), stool(S)

## Slide 3
18USGA00A000p00B000Z
mol markers
[code]
sample type
[code]
# samples in pool
year
country
[code]
state of province
[code]
day of failure
[code]
treatment [code]
sample ID
ending w/
P = pooled
Provided before sample processing
Added prior to sequencing
IF MISSING VALUE: Use (lower case) x if information is missing or not available for each position in sample name (ex. If day of treatment is not available = replace with (2) (lower case) x x .
The sample name must be 20 characters long always.
Pooled Sequenced Samples
1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20
# processed
1 = first), 2= repeat, ..
[code] = see next slides for code keys and explanations
blood (B), filter blood spot (F), plasma(P), tissue(T), stool(S)

## Slide 4: Geographical locations code
2-letter country abbreviation
  http://sustainablesources.com/resources/country-abbreviations/
2-letter state abbreviation
  https://www.factmonster.com/us/postal-information/state-abbreviations-and-state-postal-codes
  (lower case) wa = West Africa
    Since most of the domestic isolates don’t have specific country of origin

## Slide 5: Treatment code
Treatment | Code
Arthemether-Lumafantrine (AL)- Coartem | A
Chloroquine (CQ) | B
Chloroquine + Piperaquine (CQ+PQ) | C
Arthemether-Lumafantrine + Piperaquine (AL+PQ) | D
Arthemether + Mefloquine(Lariam) (AL+MQ) | E
Artesunate + Amodiaquine (AS+AQ) | F
Artesunate + Sulphadoxine-Pyrimethamine (AS+SP) | G
Artesunate + Mefloquine (AS+MQ) | H
Dihydroartemisinin + Piperaquine (DHA+PQ) | I
Artesunate + Sulphadoxine + Pyrimethamine (AS+SP+PQ) | J
Arthemether + Mefloquine + Piperaquine (AL+MQ+PQ) | K
Doxycycline | L
Atovaquone/Proguanil (Malarone) | M
Quinine | N
Quinine + Doxycycline | O
Atovaquone/Proguanil + Arthemether-Lumafantrine | P
Mefloquine | Q
Vanomycin and Rocephin | R
Atovaquone/Proguanil (Malarone) + Doxycycline | S
Doxycycline, Malarone, Quinine and Artesunate | T
Hydroxychloroquine | U
Atovaquone | V
Atovaquone/Proguanil (Malarone) + AL (Coartem) + Artesunate | W
Arthemether-Lumafantrine (Coartem) + Artesunate | Y

## Slide 6: Molecular markers code
Three-digit decimal number is used to indicate specific molecular markers sequenced per sample
Use Binary to Hex converter to get decimal number based on combination of markers used
3-digit decimal = 9 marker combo pooled per run max
Ex.111111110 -> 510
Ex. sample name :17ANZA00F0001PfF5101
Marker name | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Status | Present/Absent | Present/Absent | Present/Absent | Present/Absent | Present/Absent | Present/Absent | Present/Absent | Present/Absent | Present/Absent
Binary code | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0

## Slide 7
Molecular markers (gene names) | Bit code | Decimal
k13, crt, mdr1, cytB, dhps, dhfr | 111111000 | 504
k13, dhps, dhfr | 100011000 | 280
dhps, dhfr | 000011000 | 24
k13 | 100000000 | 256
k13, crt, mdr, cytoB, dhps, dhfr, cpmp, pfs47 | 111111100 | 508
Pfs47 | 000000100 | 4
Common Mol. Marker combos and bit codes
Marker name loc | k13 | crt | mdr1 | cytb | dhps | dhfr | cpmp | pfs47 | celTOS
Status | Present/Absent | Present/Absent | Present/Absent | Present/Absent | Present/Absent | Present/Absent | Present/Absent | Present/Absent | Present/Absent
Binary code | 1/0 | 1/0 | 1/0 | 1/0 | 1/0 | 1/0 | 1/0 | 1/0 | 1/0

## Slide 8: EXamples
PARMA sample - POOLED
17 - Year:2017
AN – Country: Angola (samples pooled collected from Angola study)
ZA – State: Zaire
00 – Day of treatment: D0
F – Treatment: AS+AQ
001P – Pool Number
08 - 8 samples in this pool
F - Sample type: sample provided to lab as Filter Blood Spot
119– K13, PfCRT, MDR1, Cytochrome B, dhps, and dhfr were amplified
1 – this is the first time this "sample" is being processed
17ANZA00P001P08F1191
Domestic sample:17-102 - INDIVIDUAL
17 - Year:2017
US – Country: Nigeria (patient assumed to acquire malaria from Nigeria)
NY – State: NY (state patient was diagnosed)
xx – Day of treatment: n/a (xx) - not a TES sample
A – Treatment: Arthemether Lumafantrine
0102 – Sample Number for that year
PF - Organism: Plasmodium falciparum
B - Sample type: sample provided to lab as Whole blood
000 – Gene K13, Pfcrt, MDR1, Cytochrome B, dhps, dhfr, cpmp, and Pfs47 were amplified for this sample
2 – this is the second time this sample is being processed (meaning it repeat sequenced sample)
17NGNYxxA0102PfB1292
17ANZA00F08P001F1191